**MesGen Biotechnology Co.,Ltd.**

**Tel:** 86-21-56620378

**E-mail :**[info@mesgenbio.com](mailto:info@mesgenbio.com)

**www.mesgenbio.com**




**Quality Certificate**

|  |  |
| --- | --- |
| **NC Membrane Filter** | **Cat Number:MG92345-1PAC** |
| **Lot Number:150710024M** |

|  |
| --- |
| **ISO 9001 Quality Standard** |
| The product was manufactured in the Membrane Solutions facility whose Quality Management System is approved by an accredited registering body to the ISO 9001 Quality Systems Standard. |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Membrane Filter Lot Characterization** | | | | |
| **Filter Media** | NC | **Wettability** | Hydrophilic |
| **Color** | White | **Thickness(μm)** | 120-150 |
| **Pore Size(μm)** | 0.22 | **Bubble Point (psi)** | 61-87 |
| **Size(mm)** | 300\*3000 | **Flow Rate(ml/min/cm²@10psi)** | 6.5-12.5 |
| Bubble point and Flow rate are tested by water at 25℃. | | | |

|  |
| --- |
| **HPLC Extractables Test (254nm)** |



|  |  |
| --- | --- |
| **Specification** | **Result** |
| No detectable peaks | Pass |